## Slide 1
Presentation to the
Sacramento Environmental Commission
January 15, 2020

## Slide 2
WMP Requirements
Risk-based Approach
Overview of SMUD’s Low Wildfire Risk Profile
SMUD’s
Wildfire Mitigation Plan
De-energization Protocols
i

SMUD’s Wildfire Mitigation Plan (WMP)
About SMUD
Continuous Monitoring & Evaluation

## Slide 3: SMUD Overview
6th largest publicly owned utility in the nation
Serves Sacramento County and small portion of Placer County
900 Square Mile Service Territory
Maintains facilities in El Dorado and Solano Counties
600,000 Customers

## Slide 4

Wildfire Mitigation Plan Requirements
Objectives & Responsibilities
Preventative Strategies & Programs
Metrics
Notification & Communication

## Slide 5
Risk-Based Approach
Comprehensive assessment of key risk drivers and impacts of wildfire related to SMUD electric facilities
Public Outreach
  Public Comment Period
  Dedicated Webpage
Qualified Independent Evaluation
  Comprehensive
  Meets regulatory requirements and industry standards
Board Presentations/Adoption
  September 11, 2019
  October 17, 2019

## Slide 6
i
SMUD’s WMP Objectives
SMUD’s priority is delivering safe, reliable,
environmentally sustainable and affordable power
Minimize the probability that SMUD’s transmission and distribution (T&D) system may be the origin or contributing source for the ignition of a wildfire
Implement a wildfire plan that embraces safety, prevention, mitigation and recovery as a central priority for SMUD
Create a WMP that is consistent with state law and objectives.

## Slide 7
i
SMUD’s Fire Risk
CPUC Fire-Threat Map
Adopted January 19, 2018
Highest wildfire risk area is outside SMUD’s service territory where we maintain the Upper American River Project (UARP) in El Dorado County.
(PG&E provides electric service to end use customers in this area.)
SMUD’s service territory is outside CPUC High Fire Threat District.
SMUD takes all existing risk seriously and prioritizes activities in higher fire hazard zones within its service territory

## Slide 8
Vegetation Management
& Fuels Reduction
Pole and wire clearing
Right of way maintenance
Design
&
Construction
Non-expulsion equipment
System upgrades
Situational Awareness
Weather stations
Camera pilot
Recloser &
De-Energization
Transmission and distribution protocols
Inspection
&
Maintenance
Aerial and ground patrols
LiDAR and infrared technologies
Education & Outage Comm.
Critical event messaging
Wildfire Prevention Programs

## Slide 9
Expanded Mitigation Activities
Increased scope of vegetation management in high fire threat areas
System improvement capital projects
  Non-expulsion devices and arresters with arc protection
  Study to identify project to replace bare 4kV wire
Increased situational awareness
  Additional weather stations in UARP
  Real-time situational awareness tool
Pilot projects
  Hyper spectral imagery
  Fire monitoring cameras in UARP transmission corridor
SMUD is making substantial investments
in wildfire prevention

## Slide 10: Established Protocols for De-energization
As a last resort, SMUD will de-energize lines to protect the safety of our communities under the following:
  If requested by first responders; or
  When SMUD system operators identify an active wildfire or extreme fire risk near a power line
SMUD will communicate to first responders, local agencies, service providers and customers to provide early notice of power shut-off when possible.

## Slide 11
SMUD website: www.smud.org/WildfireSafety
Contact: wmp@smud.org